## Budget Summary
Budget Summary (Establishment of Science Laboratories and Supply of Furniture and related Miscellaneous items for Government Schools)
Sl No. | Description of Items | Total Amount (Inclusive of Tax) (Rs.)
1 | Science Laboratory Equipments (For One School) | 268392
2 | Science Laboratory Furniture Items (For One School) | 696863
3 | Science Laboratory Miscellaneous Items (For One School) | 116793
4 | Monitoring and Evaluation (M&E) | 47200
5 | Teachers' Capacity Building (3 Physical Training) | 53100
6 | AMC for 3 years (For consumable items like Chemicals and Glassware) | 118000
7 | Painting (whitewash & Putty) @ Rs. 75/sq.ft. (400 sq.ft. room) | 35400
8 | Painting (Image and Bala like painting) @ Rs. 100/sq.ft. (400 sq.ft room) | 47200
Total (for One School) |  | 1382948
Add: Admin Cost @ 5% |  | 69147.4
Grand Total |  | 1452095.4

## Cost Break-up
SR NO | NAME OF EQUIPMENTS | PRODUCT DESCRIPTION | Specification | UNIT | Price Per Unit | Total Price | GST | Total GST Amount | Total Price with GST
Lab Equipments
A | Physics Lab
1 | Voltmeter | VOLTMETER (EDM-80) SQUARE Dial, DC, Range 0-3Volt | 10 | Nos. | 340 | 3400 | 18 | 612 | 4012
2 | Ammeter | AMMETER (EDM-80) SQUARE Dial, Moving Coil, DC with Desk Stand, Range 0-1.5 Amp | 10 | Nos. | 340 | 3400 | 18 | 612 | 4012
3 | Galvanometer | GALVANOMETER (DC with Stand), Square dial, 30-0-30, EDM-80 | 10 | Nos. | 340 | 3400 | 18 | 612 | 4012
4 | Convex lens | Convex Lens (Exact FOCAL LENGTH), DIA 2”/ 50mm , FL 15cm | 10 | Nos. | 40 | 400 | 18 | 72 | 472
5 | concave lens | Concave Lens (Exact FOCAL LENGTH), DIA 2”/ 50mm , FL 15cm | 10 | Nos. | 40 | 400 | 18 | 72 | 472
6 | Convex mirror | CONVEX MIRROR, DIA 2”/ 50mm , FL 15cm | 10 | Nos. | 40 | 400 | 18 | 72 | 472
7 | concave mirror | CONCAVE MIRROR, DIA 2”/ 50mm , FL 15cm | 10 | Nos. | 40 | 400 | 18 | 72 | 472
8 | Prisms | GLASS PRISM (Superior Quality) Equilateral 60x60x60, 50mm | 6 | Nos. | 170 | 1020 | 18 | 183.6 | 1203.6
9 | Plane mirror | 4"x2" Mirror Strip Mounted on Wooden Base/ Plastic stand | 10 | Nos. | 20 | 200 | 18 | 36 | 236
10 | Magnets | BAR MAGNET, (Superior Quality), 50x11x7mm (2”) | 25 | Nos. | 180 | 4500 | 18 | 810 | 5310
11 | Telescope | ASTRONOMICAL/ TERRESTRIAL TELESCOPE With Tripod Stand, Imported (Superior Quality) | 1 | Nos. | 6900 | 6900 | 18 | 1242 | 8142
12 | Sliding stand | IRON STAND (with Clamp & Boss Head), 7x5” Sheet Metal (RETORT STAND), Superior Quality with Dipress Clamp & Bosshead | 6 | Nos. | 550 | 3300 | 18 | 594 | 3894
B | Chemistry Lab
13 | Kipp’s Apparatus | Borosilicate glass, 500ml | 1 | Nos. | 2900 | 2900 | 18 | 522 | 3422
14 | Digital Weighing balance | Cap. 2Kg , L.C. 0.01gm (10mg) | 1 | Nos. | 50 | 50 | 18 | 9 | 59
15 | Periodic table chart | Modern Periodic Table, 75 x 100cm , Raxine | 1 | Nos. | 270 | 270 | 18 | 48.6 | 318.6
16 | 3d atomic model | 75 Balls of standard size & 37 Connecting Lugs | 1 | Nos. | 1395 | 1395 | 18 | 251.1 | 1646.1
17 | Laboratory thermometer | Length 30cm , -10 to 110°C, Mercury | 5 | Nos. | 170 | 850 | 18 | 153 | 1003
18 | Melting point apparatus | Mechanical Type (Heavy Type) Dicasted | 3 | Nos. | 3400 | 10200 | 18 | 1836 | 12036
19 | Bunsen burner | Superior quality Bunsen burner with stop cock, heavy base, Brass Pipe 150mm & dia.12mm specification | 15 | Nos. | 630 | 9450 | 18 | 1701 | 11151
20 | Burette | Burette with Rota Flow Stopcock, Borosilicate Glass, 50ml | 12 | Nos. | 220 | 2640 | 18 | 475.2 | 3115.2
21 | Burette stand | Burette stand with Clamp (Metallic) of Superior Quality Sheet Metal, Adjustable Base 7"x5"x24" | 12 | Nos. | 550 | 6600 | 18 | 1188 | 7788
22 | Funnel | Funnel, Borosilicate Glass, 75mm | 22 | Nos. | 90 | 1980 | 18 | 356.4 | 2336.4
23 | Conical flask – 250ml | Conical Flask, Borosilicate Glass, 250ml | 15 | Nos. | 140 | 2100 | 18 | 378 | 2478
24 | Conical flask – 100ml | Conical Flask, Borosilicate Glass, 100ml | 5 | Nos. | 95 | 475 | 18 | 85.5 | 560.5
25 | Measuring cylinder – 50 ml | Round/ hexagonal Base, Borosilicate Glass, Without Stopper, 50ml | 12 | Nos. | 140 | 1680 | 18 | 302.4 | 1982.4
26 | Measuring cylinder – 5ml | Round/ hexagonal Base, Borosilicate Glass, Without Stopper, 5ml | 5 | Nos. | 95 | 475 | 18 | 85.5 | 560.5
27 | Pipette – 10ml | Pipette graduated, Borosilicate Glass, 10ml | 18 | Nos. | 95 | 1710 | 18 | 307.8 | 2017.8
28 | Spatula | Spatula with Spoon, Stainless Steel, 8" , Heavy Quality, one end flat and the other end in spoon form | 18 | Nos. | 75 | 1350 | 18 | 243 | 1593
29 | Glass rod | Glass stirrer, 8" | 20 | Nos. | 70 | 1400 | 18 | 252 | 1652
30 | Test tubes | Test tubes, Borosilicate Glass, round bottom, 15x125mm , 10ml | 1 | Nos. | 390 | 390 | 18 | 70.2 | 460.2
31 | Reagent Bottles | Reagent Bottle (Narrow Mouth), Borosilicate Glass, 250ml | 5 | Nos. | 260 | 1300 | 18 | 234 | 1534
32 | Wash Bottles | Wash Bottles Polyethylene, 250ml | 6 | Nos. | 125 | 750 | 18 | 135 | 885
33 | China Dish | China dish (Porcelain), Dia 3" | 6 | Nos. | 70 | 420 | 18 | 75.6 | 495.6
34 | Mortar pestle | Pestle & Mortar (Porcelain), Dia 4" | 6 | Nos. | 265 | 1590 | 18 | 286.2 | 1876.2
35 | Volumetric flask 100ml | Volumetric Flask (Measuring Flask), Borosilicate Glass, 250ml | 15 | Nos. | 165 | 2475 | 18 | 445.5 | 2920.5
36 | Volumetric flask 250ml | Volumetric Flask (Measuring Flask), Borosilicate Glass, 100ml | 5 | Nos. | 190 | 950 | 18 | 171 | 1121
37 | Blue litmus paper | Litmus blue indicator paper, 100 Is | 3 | Nos. | 290 | 870 | 18 | 156.6 | 1026.6
38 | Red litmus paper | Litmus red indicator paper, 100 Is | 3 | Nos. | 290 | 870 | 18 | 156.6 | 1026.6
39 | Universal indicator paper | Indicator paper, pH 1‐14 (Full range), 200 Is | 4 | Nos. | 190 | 760 | 18 | 136.8 | 896.8
40 | Filter paper | Machine Made filter paper Fine Quality, Dia 125mm, No.1, pack of 100 | 4 | Nos. | 140 | 560 | 18 | 100.8 | 660.8
41 | Tripod stand | Heavy Quality tripod stand, 8" | 15 | Nos. | 160 | 2400 | 18 | 432 | 2832
42 | Wire gauge | Wire Gauge with frame with Ceramic Centre 6" (Superior quality) | 20 | Nos. | 90 | 1800 | 18 | 324 | 2124
43 | Beakers – 50ml | Beakers, Borosilicate Glass, 50ml | 5 | Nos. | 70 | 350 | 18 | 63 | 413
44 | Beakers – 100 ml | Beakers, Borosilicate Glass, 100ml | 15 | Nos. | 80 | 1200 | 18 | 216 | 1416
45 | Toungues | CRUCIBLE TONG (Stainless Steel), 6" | 10 | Nos. | 490 | 4900 | 18 | 882 | 5782
46 | Flat bottom flask | FLASK CONICAL, Borosilicate Glass, 250ml | 6 | Nos. | 140 | 840 | 18 | 151.2 | 991.2
47 | Charcoal block | Charcoal Block (4"x1" Pack of Dozen) | 6 | Nos. | 90 | 540 | 18 | 97.2 | 637.2
48 | Blow pipe | Blow pipe (BRASS), 8" Heavy With Nozzle | 6 | Nos. | 120 | 720 | 18 | 129.6 | 849.6
49 | Rubber stoppers | RUBBER CORK ASSORTED (Dz.) | 6 | Nos. | 70 | 420 | 18 | 75.6 | 495.6
50 | Test tube holders | Test tube holder (Wooden Handle), Iron Chrome Plated, Superior Quality | 6 | Nos. | 59 | 354 | 18 | 63.72 | 417.72
51 | Test tube rack | Test tube stand 6 Hole | 6 | Nos. | 70 | 420 | 18 | 75.6 | 495.6
52 | Test tube brush | Test tube brush (Nylon) Superior Quality | 6 | Nos. | 60 | 360 | 18 | 64.8 | 424.8
53 | Safety glass | Safety Goggles, Imported with Ventilation (Polycarbonate) Superior quality | 6 | Nos. | 400 | 2400 | 18 | 432 | 2832
54 | Apron | Apron Cloth (White Colour) | 3 | Nos. | 1400 | 4200 | 18 | 756 | 4956
55 | Ring stand with clamp | RETORT RING fitted with Boss Head (Powder Coated) Funnel Holder, Size 3” Dia with Iron Stand (Base & Rod), 7"x5” Sheet Metal, Superior Quality | 6 | Nos. | 180 | 1080 | 18 | 194.4 | 1274.4
56 | Gloves | RUBBER GLOVES (Pair) | 1 | Nos. | 59 | 59 | 18 | 10.62 | 69.62
57 | First aid box | FIRST AID BOX | 1 | Nos. | 1668 | 1668 | 18 | 300.24 | 1968.24
58 | Magnesium ribbon | Magnesium Ribbon (25Gms) | 1 | Nos. | 166 | 166 | 18 | 29.88 | 195.88
59 | Chemicals with storage box/ container | Acetic Acid Glacial - 99.5%; 500 ml | 1 | Nos. | 595 | 595 | 18 | 107.1 | 702.1
60 | Chemicals with storage box/ container | Acetone - 99%, 500ml | 1 | Nos. | 714 | 714 | 18 | 128.52 | 842.52
61 | Chemicals with storage box/ container | Aniline - 99%, 500ml | 1 | Nos. | 1322 | 1322 | 18 | 237.96 | 1559.96
62 | Chemicals with storage box/ container | Agar agar bacteriological, 250gm | 1 | Nos. | 1731 | 1731 | 18 | 311.58 | 2042.58
63 | Chemicals with storage box/ container | Aluminium nitrate - 98%, 500gm | 1 | Nos. | 760 | 760 | 18 | 136.8 | 896.8
64 | Chemicals with storage box/ container | Aluminium hydroxide powder, 250 gm | 1 | Nos. | 1322 | 1322 | 18 | 237.96 | 1559.96
65 | Chemicals with storage box/ container | Ammonia solution 10% (10% NH3), (Ammonium hydroxide), 500ml | 1 | Nos. | 760 | 760 | 18 | 136.8 | 896.8
66 | Chemicals with storage box/ container | Ammonium chloride - 99%, 500gm | 1 | Nos. | 597 | 597 | 18 | 107.46 | 704.46
67 | Chemicals with storage box/ container | Ferrous Ammonium Sulphate (Mohr's Salt); 500 gm | 1 | Nos. | 634 | 634 | 18 | 114.12 | 748.12
68 | Chemicals with storage box/ container | Ammonium oxalate - 99%-500gm | 1 | Nos. | 1036 | 1036 | 18 | 186.48 | 1222.48
69 | Chemicals with storage box/ container | Ammonium Sulphate- 98.5%; 500 gm | 1 | Nos. | 522 | 522 | 18 | 93.96 | 615.96
70 | Chemicals with storage box/ container | Arsenic trioxide - 99.5%, 500gm | 1 | Nos. | 1042 | 1042 | 18 | 187.56 | 1229.56
71 | Chemicals with storage box/ container | Ammonium carbonate- 30% NH, 500 gm | 1 | Nos. | 760 | 760 | 18 | 136.8 | 896.8
72 | Chemicals with storage box/ container | Aluminium chloride anhydrous - 98%, 250gm | 1 | Nos. | 1075 | 1075 | 18 | 193.5 | 1268.5
73 | Chemicals with storage box/ container | Barium Chloride -99%, 500 gm | 1 | Nos. | 760 | 760 | 18 | 136.8 | 896.8
74 | Chemicals with storage box/ container | Barium nitrate - 98%, 500gm | 1 | Nos. | 915 | 915 | 18 | 164.7 | 1079.7
75 | Chemicals with storage box/ container | Benzoic acid - 99%, 500gm | 1 | Nos. | 1196 | 1196 | 18 | 215.28 | 1411.28
76 | Chemicals with storage box/ container | Benzaldehyde - 98%, 500ml | 1 | Nos. | 1674 | 1674 | 18 | 301.32 | 1975.32
77 | Chemicals with storage box/ container | Borax (di-Sodium tetraborate) - 99%, 500gm | 1 | Nos. | 677 | 677 | 18 | 121.86 | 798.86
78 | Chemicals with storage box/ container | Benedicts Solution; 500Ml | 1 | Nos. | 920 | 920 | 18 | 165.6 | 1085.6
79 | Chemicals with storage box/ container | Bromine water, 500ml | 1 | Nos. | 634 | 634 | 18 | 114.12 | 748.12
80 | Chemicals with storage box/ container | n-Butyl alcohol (1-Butanol) - 99%, 500ml | 1 | Nos. | 1075 | 1075 | 18 | 193.5 | 1268.5
81 | Chemicals with storage box/ container | Copper metal turnings- 99%, 100gm | 1 | Nos. | 1731 | 1731 | 18 | 311.58 | 2042.58
82 | Chemicals with storage box/ container | Cadmium Sulphate-98%, 100 gm | 1 | Nos. | 1505 | 1505 | 18 | 270.9 | 1775.9
83 | Chemicals with storage box/ container | Calcium Carbonate-98%, 500 gm | 1 | Nos. | 555 | 555 | 18 | 99.9 | 654.9
84 | Chemicals with storage box/ container | Calcium nitrate - 98%,500gm | 1 | Nos. | 531 | 531 | 18 | 95.58 | 626.58
85 | Chemicals with storage box/ container | Calcium hydroxide - 95%, 500gm | 1 | Nos. | 597 | 597 | 18 | 107.46 | 704.46
86 | Chemicals with storage box/ container | Cobalt nitrate - 97 - 101%, (Cobaltous nitrate),100gm | 1 | Nos. | 1757 | 1757 | 18 | 316.26 | 2073.26
87 | Chemicals with storage box/ container | Copper sulphate -98.5% (Cupric sulphate), 500gm | 1 | Nos. | 1916 | 1916 | 18 | 344.88 | 2260.88
88 | Chemicals with storage box/ container | Copper Nitrate- 95 -103% (Cupric nitrate) , 500 gm | 1 | Nos. | 2080 | 2080 | 18 | 374.4 | 2454.4
89 | Chemicals with storage box/ container | Cinnamic acid - 99%, 250gm | 1 | Nos. | 2635 | 2635 | 18 | 474.3 | 3109.3
90 | Chemicals with storage box/ container | Castor Oil, 500ml | 1 | Nos. | 2183 | 2183 | 18 | 392.94 | 2575.94
91 | Chemicals with storage box/ container | 2,4 - Dinitro phenylhydrazine, 25gm | 1 | Nos. | 1580 | 1580 | 18 | 284.4 | 1864.4
92 | Chemicals with storage box/ container | D.M. Water (Deionised water), 5 ltr | 1 | Nos. | 1346 | 1346 | 18 | 242.28 | 1588.28
93 | Chemicals with storage box/ container | Egg albumin flakes (Protein - 95%),25gm | 1 | Nos. | 2094 | 2094 | 18 | 376.92 | 2470.92
94 | Chemicals with storage box/ container | Ethanol or Ethyle Alcohol, 500ml | 1 | Nos. | 714 | 714 | 18 | 128.52 | 842.52
95 | Chemicals with storage box/ container | Ferric Chloride Anhydrous- 96%, 500 gm | 1 | Nos. | 667 | 667 | 18 | 120.06 | 787.06
96 | Chemicals with storage box/ container | Ferrous Sulphate-98%, 500 gm | 1 | Nos. | 1276 | 1276 | 18 | 229.68 | 1505.68
97 | Chemicals with storage box/ container | Ferric sulphate (Fe- 22%) (Iron [III] sulphate), 500gm | 1 | Nos. | 714 | 714 | 18 | 128.52 | 842.52
98 | Chemicals with storage box/ container | Fehlings A Solution; 500 ml | 1 | Nos. | 1668 | 1668 | 18 | 300.24 | 1968.24
99 | Chemicals with storage box/ container | Fehlings B Solution; 500 ml | 1 | Nos. | 382 | 382 | 18 | 68.76 | 450.76
100 | Chemicals with storage box/ container | Ferric Chloride Solution (Gerhardt’s reagent) 10% w/v, 125 ml | 1 | Nos. | 1598 | 1598 | 18 | 287.64 | 1885.64
101 | Chemicals with storage box/ container | Gum acacia, 500gm | 1 | Nos. | 868 | 868 | 18 | 156.24 | 1024.24
102 | Chemicals with storage box/ container | Glycerin- 98%, 500 ml | 1 | Nos. | 944 | 944 | 18 | 169.92 | 1113.92
103 | Chemicals with storage box/ container | Hydrochloric Acid (Thermocole Pack)-35%, 500ml | 2 | Nos. | 550 | 1100 | 18 | 198 | 1298
104 | Chemicals with storage box/ container | Hydrogen peroxide solution 3% w/v (10 vol.), 500ml | 1 | Nos. | 830 | 830 | 18 | 149.4 | 979.4
105 | Chemicals with storage box/ container | Iodine solution - 1% w/v, 125ml | 1 | Nos. | 667 | 667 | 18 | 120.06 | 787.06
106 | Chemicals with storage box/ container | Lead Acetate-99%; 500Gm | 1 | Nos. | 1486 | 1486 | 18 | 267.48 | 1753.48
107 | Chemicals with storage box/ container | Lamposolv (For spirit lamp), 500ml | 1 | Nos. | 1674 | 1674 | 18 | 301.32 | 1975.32
108 | Chemicals with storage box/ container | Lead Nitrate- 99%, 500Gm | 1 | Nos. | 1294 | 1294 | 18 | 232.92 | 1526.92
109 | Chemicals with storage box/ container | Litmus blue solution, 125ml | 1 | Nos. | 649 | 649 | 18 | 116.82 | 765.82
110 | Chemicals with storage box/ container | Magnesium Sulphate-99%; 500 gm | 1 | Nos. | 480 | 480 | 18 | 86.4 | 566.4
111 | Chemicals with storage box/ container | M10529 Manganous chloride - 95%, 500 gm (Manganese chloride) | 1 | Nos. | 994 | 994 | 18 | 178.92 | 1172.92
112 | Chemicals with storage box/ container | Millon’s reagent (for protein), 125ml | 1 | Nos. | 3991 | 3991 | 18 | 718.38 | 4709.38
113 | Chemicals with storage box/ container | Molisch Reagent; 125ml | 1 | Nos. | 527 | 527 | 18 | 94.86 | 621.86
114 | Chemicals with storage box/ container | Methyl Orange Solution, 125 ml | 1 | Nos. | 330 | 330 | 18 | 59.4 | 389.4
115 | Chemicals with storage box/ container | Naphthol beta (2 -Naphthol), 250gm | 1 | Nos. | 541 | 541 | 18 | 97.38 | 638.38
116 | Chemicals with storage box/ container | Naphthalene powder - 99%, 500gm | 1 | Nos. | 620 | 620 | 18 | 111.6 | 731.6
117 | Chemicals with storage box/ container | Nitric Acid (Thermocole pack),-70%, 500ml | 2 | Nos. | 470 | 940 | 18 | 169.2 | 1109.2
118 | Chemicals with storage box/ container | Nessler’s reagent, 125ml | 1 | Nos. | 800 | 800 | 18 | 144 | 944
119 | Chemicals with storage box/ container | Oxalic Acid- 99.5%; 500gm | 1 | Nos. | 880 | 880 | 18 | 158.4 | 1038.4
120 | Chemicals with storage box/ container | Paraffin liquid light, 500ml | 1 | Nos. | 990 | 990 | 18 | 178.2 | 1168.2
121 | Chemicals with storage box/ container | Potassium chromate - 99%, 500gm | 1 | Nos. | 750 | 750 | 18 | 135 | 885
122 | Chemicals with storage box/ container | Potassium dichromate- 99.5%, 500gm | 1 | Nos. | 800 | 800 | 18 | 144 | 944
123 | Chemicals with storage box/ container | Potassium ferricyanide- 99% (potassium hexacyano ferrate (III)), 500gm | 1 | Nos. | 1900 | 1900 | 18 | 342 | 2242
124 | Chemicals with storage box/ container | Potassium Hydroxide flakes - 85%, 500 gm | 1 | Nos. | 980 | 980 | 18 | 176.4 | 1156.4
125 | Chemicals with storage box/ container | Potassium nitrate - 99%; 500 gm | 1 | Nos. | 1670 | 1670 | 18 | 300.6 | 1970.6
126 | Chemicals with storage box/ container | Potassium oxalate - 99%, 500gm | 1 | Nos. | 950 | 950 | 18 | 171 | 1121
127 | Chemicals with storage box/ container | Potassium permanganate - 99%, 500gm | 1 | Nos. | 1590 | 1590 | 18 | 286.2 | 1876.2
128 | Chemicals with storage box/ container | Potassium iodide - 99%, 100gm | 1 | Nos. | 2409 | 2409 | 18 | 433.62 | 2842.62
129 | Chemicals with storage box/ container | Phenolphthalein solution, 125ml | 1 | Nos. | 400 | 400 | 18 | 72 | 472
130 | Chemicals with storage box/ container | Baking Soda (Sodium Bicarbonate- 99%); 500 gm | 1 | Nos. | 750 | 750 | 18 | 135 | 885
131 | Chemicals with storage box/ container | Sodium Carbonate Anhydrous-99%, 500 gm | 1 | Nos. | 600 | 600 | 18 | 108 | 708
132 | Chemicals with storage box/ container | Sodium chloride - 99.5%, 500 gm | 1 | Nos. | 450 | 450 | 18 | 81 | 531
133 | Chemicals with storage box/ container | Sodium bisulphite (SO2- 58.5%), 500gm | 1 | Nos. | 920 | 920 | 18 | 165.6 | 1085.6
134 | Chemicals with storage box/ container | Sodium hydroxide flakes - 96%, 500gm | 1 | Nos. | 625 | 625 | 18 | 112.5 | 737.5
135 | Chemicals with storage box/ container | di-Sodium hydrogen orthophosphate-anhydrous (Sodium phosphate dibasic)- 99%, 500gm | 1 | Nos. | 1180 | 1180 | 18 | 212.4 | 1392.4
136 | Chemicals with storage box/ container | Sodium Metal- 99% (in liquid paraffin), 250 gm | 1 | Nos. | 960 | 960 | 18 | 172.8 | 1132.8
137 | Chemicals with storage box/ container | tri-Sodium phosphate - 98%, 500gm | 1 | Nos. | 185 | 185 | 18 | 33.3 | 218.3
138 | Chemicals with storage box/ container | Sodium Sulphite Anhydrous- 96%; 500 gm | 1 | Nos. | 710 | 710 | 18 | 127.8 | 837.8
139 | Chemicals with storage box/ container | Sodium thiosulphate (Hypo) - 99%, 500gm | 1 | Nos. | 500 | 500 | 18 | 90 | 590
140 | Chemicals with storage box/ container | Strontium nitrate - 99%, 500gm | 1 | Nos. | 1480 | 1480 | 18 | 266.4 | 1746.4
141 | Chemicals with storage box/ container | Sulphuric acid (Thermocole pack)- 97%, 500ml | 2 | Nos. | 890 | 1780 | 18 | 320.4 | 2100.4
142 | Chemicals with storage box/ container | Sodium nitrite - 96%, 500gm | 1 | Nos. | 730 | 730 | 18 | 131.4 | 861.4
143 | Chemicals with storage box/ container | Sodium sulphide flakes- 55%, 500gm | 1 | Nos. | 1450 | 1450 | 18 | 261 | 1711
144 | Chemicals with storage box/ container | Sudan III solution, 125ml | 1 | Nos. | 330 | 330 | 18 | 59.4 | 389.4
145 | Chemicals with storage box/ container | Schiff’s reagent, (For detection of aldehydes), 125ml | 1 | Nos. | 1215 | 1215 | 18 | 218.7 | 1433.7
146 | Chemicals with storage box/ container | Silver Nitrate N/10 Solution; 125 ml | 1 | Nos. | 1130 | 1130 | 18 | 203.4 | 1333.4
147 | Chemicals with storage box/ container | Tollen’s reagent, 100ml | 1 | Nos. | 1270 | 1270 | 18 | 228.6 | 1498.6
148 | Chemicals with storage box/ container | Universal Indicator Solution, 500 ml | 1 | Nos. | 890 | 890 | 18 | 160.2 | 1050.2
149 | Chemicals with storage box/ container | Zinc Sulphate- 99%; 500 gm | 1 | Nos. | 770 | 770 | 18 | 138.6 | 908.6
150 | Chemicals with storage box/ container | Zinc metal granulated A.R. - 99.9%, 250gm | 1 | Nos. | 1415 | 1415 | 18 | 254.7 | 1669.7
C | Biology Lab
151 | Microscope | Compound Microscope (Student) Two eyepiece 10x, 15x & two objectives 10x, 45x, with fixed condenser, ISI Marked. | 4 | Nos. | 4000 | 16000 | 18 | 2880 | 18880
152 | Glass slide | Size 75x25mm Glass, Thickness 1.35 (Pk of 50) | 500 | Nos. | 3 | 1500 | 18 | 270 | 1770
153 | Magnifying glass | Magnifier (Bakelite Handle) , 3” dia | 15 | Nos. | 150 | 2250 | 18 | 405 | 2655
Furniture Items
A. | Physics Lab
154 | Tables and chairs (10ft x 4ft x 3 ft) | Modular Island Workbench with electrical raceway containing 4 nos. electrical switches and sockets with granite top Table top:18 +/- 1 mm thick well-polished Jet Black Granite with half round nosing, acid-resistant, alkali-resistant Material of Construction for Work Bench: 18G thick CRC Sheet. Interior & Exterior should be provided with powder-coated finish. Table Dimension-3000mm W*1200 mm D*900 mm H. | 1 | Nos. | 48500 | 48500 | 18 | 8730 | 57230 | 3
155 | Stools | Steel stool with steel top in 16 G with rubber shoes | 15 | Nos. | 4700 | 70500 | 18 | 12690 | 83190 | 20
B | Chemistry Lab
156 | Working tables | Modular Island Workbench with 2 sink & tap with Double tier Reagent Rack & electrical switches and sockets with granite top. Table top:18 +/- 1 mm thick well-polished Jet Black Granite with half round nosing, acid-resistant, alkali-resistant with 2 PP sink and 3 way swan neck CPVC/ Brass tap. Material of Construction for Work Bench: 18G thick CRC Sheet. Interior & Exterior should be provided with powder-coated finish. Table Dimension-2400mm W*1200 mm D*900 mm H Reagent Rack Dimension-1200 mm W *300 mm D*620 mm H | 2 | Nos. | 59800 | 119600 | 18 | 21528 | 141128 | 4
157 | Open rack for chemicals | Slotted Angle Rack Material of Construction : 18G thick perforated CRC Sheet. Interior & Exterior should be provided with powder-coated finish with 3 nos. of shelved and 4 nos. of compartments. Rack Dimension-900mm W*450 mm D*1800 mm H | 1 | Nos. | 17900 | 17900 | 18 | 3222 | 21122 | 2
158 | Almirahs with glass mirrors | Glass door Full Height cabinet: Made of epoxy powder coated 18 gauge sheet, Dimension-900 mm W x 450 mm D x 1800 mm H | 1 | Nos. | 43700 | 43700 | 18 | 7866 | 51566 | 2
C | Biology Lab
159 | Chairs with writing pad | Seat and back made of polish ply,with black powder coated frame having half writing desk | 15 | Nos. | 2780 | 41700 | 18 | 7506 | 49206 | 40
160 | Working table with sink for 20 students | Modular Island Workbench with 2 sink & tap with 2 Double tier Reagent Rack & electrical switches and sockets with granite top. Table top:18 +/- 1 mm thick well-polished Jet Black Granite with half round nosing, acid-resistant, alkali-resistant with 2 PP sink and 3 way swan neck CPVC/ Brass tap. Material of Construction for Work Bench: 18G thick CRC Sheet. Interior & Exterior should be provided with powder-coated finish. Table Dimension-6000mm W*1500 mm D*900 mm H Reagent Rack Dimension-1200 mm W *300 mm D*620 mm H | 1 | Nos. | 97500 | 97500 | 18 | 17550 | 115050
161 | Shelf (for chemicals) | Glass Shutter having minimum thickness of 4mm over head cabinet Made of epoxy powder coated 18 gauge sheet, Dimension-600 mm W x 400 mm D x 600 mm H | 3 | Nos. | 20800 | 62400 | 18 | 11232 | 73632 | 6
162 | Almirahs | Glass door Full Height cabinet: Made of epoxy powder coated 18 gauge sheet, Dimension-900 mm W x 450 mm D x 1800 mm H | 2 | Nos. | 27500 | 55000 | 18 | 9900 | 64900 | 3
163 | Chairs for Demonstration | Revolving Chair: Executive chair with Push Back Machanism, Seat Material : Leatherette, High-Density Foam Sponge Materials, Back material: Nylon Netted Mesh with Powder coated MS & High Quality Fiber Arm Rest, Up-Down Height Adjustment, 90 Degree Tilt Lock & 360 Degree Revolving | 1 | Nos. | 12430 | 12430 | 18 | 2237.4 | 14667.4
164 | Demonstration table | Modular Island Workbench with with 1 base cabinets (1 Drawer 2 shutters 1 nos.) Table top:18 +/- 1 mm thick well-polished Jet Black Granite with half round nosing, acid-resistant, alkali-resistant with 1 PolyPropylene sink and 3 way swan neck CPVC/ Brass tap (BIS Standard). Material of Construction for Work Bench: 18 G thick CRC Sheet. Interior & Exterior should be provided with powder-coated finish. Table Dimension-1800mm W*750 mmD *900 mm H | 1 | Nos. | 21332 | 21332 | 18 | 3839.76 | 25171.76
Miscellaneous
A | Chemistry Lab
165 | Gas Connection ( From cylinder to working table) | Supply and fixing of LPG Pipeline Connection High Pressure Regulator 15PSI in all respect including all accessories i) Material – MS Pipe Class C 25 mm & 12.5 mm. ii) Two Way Junction Points (Brass) ensuring 2 Nos. of Hose connection for Burners in Chemistry table in each table. iii) Mechanical Elements like MS Tee, MS Bend, MS Flange, MS Coupling & Socket, Nozzle Coupling, Gaskets, Reducers, Pressure Gauge, Ball Valves, Regulators, Hose Pipe, etc. iv) Other Accessories like Metal Clamps, Hold Tight Solution, Teflon Tape, and Hardware etc. v) Proper Color Coding of Pipeline – Metal Primer (Double Coating) & Metallic Yellow Paint (Double Coating) vi) 2 no. of two way junction Points (Brass) in each island table | 1 | Job | 22735 | 22735 | 18 | 4092.3 | 26827.3
166 | Water Connection (2 Basins in a table) | Supply and fixing of Water Pipeline Connection in all respect including all accessories- i) PVC Pipe 25 mm for Water Inlet, ii) PVC Pipe 75 mm for Water Outlet, iii) Individual Water connection to all the sinks. | 1 | Job | 22220 | 22220 | 18 | 3999.6 | 26219.6
166 | Fire extinguishers | Fire Extinguishers | 2 | Nos. | 2340 | 4680 | 18 | 842.4 | 5522.4
167 | Stop watch and clock wall | Stop Watch & Wall Clock | 3 | Nos. | 2134 | 6402 | 18 | 1152.36 | 7554.36 | 1280.4 | 5121.6
B | Biology Lab
168 | Water supply (From source to working table) | Supply and fixing of Water Pipeline Connection in all respect including all accessories- i) PVC Pipe 25 mm for Water Inlet, ii) PVC Pipe 75 mm for Water Outlet, iii) Individual Water connection to all the sinks. | 1 | Job | 15565 | 15565 | 18 | 2801.7 | 18366.7
169 | Gas supply (From cylinder to working table) | Supply and fixing of LPG Pipeline Connection High Pressure Regulator 15PSI in all respect including all accessories i) Material – MS Pipe Class C 25 mm & 12.5 mm. ii) Two Way Junction Points (Brass) ensuring 2 Nos. of Hose connection for Burners in Chemistry table in each table. iii) Mechanical Elements like MS Tee, MS Bend, MS Flange, MS Coupling & Socket, Nozzle Coupling, Gaskets, Reducers, Pressure Gauge, Ball Valves, Regulators, Hose Pipe, etc. iv) Other Accessories like Metal Clamps, Hold Tight Solution, Teflon Tape, and Hardware etc. v) Proper Color Coding of Pipeline – Metal Primer (Double Coating) & Metallic Yellow Paint (Double Coating) vi) 2 no. of two way junction Points (Brass) in each island table | 1 | Job | 22755 | 22755 | 18 | 4095.9 | 26850.9
170 | LED tubelights | Branded, 36 Watts LED Batten Aluminium Casing 4000 Lumen Tube Light; Cool Day Light White, as per BIS standard | 6 | Nos. | 770 | 4620 | 18 | 831.6 | 5451.6

## Teachers Training
Deliverable | Description & Specification | Cost of 1 school | Tax | Cost of 1 school inclusive of Tax
Teachers Capacity Building per school | (3 Physical Training) | 45000 | 8100 | 53100
TRAINING OF TEACHERS (TTP)* (1 School per Training)
Trainer Personal Cost |  | 5000 | 5000
Travel Allowance (Train or Bus & Local travelling) |  | 1500 x 2 | 3000
Snacks for Teachers (It includes lunch and snacks for teachers) |  | 3000 | 3000
Material Cost (Stationery & Printing for each student and teachers) |  | 2000 | 2000
Stay |  | 2000 | 2000
Total |  |  | 15000

## AMC Cost Break-up
Particular | Duration | Amount | Tax | Amount inclusive of tax
Annual Maintenance for 1 school | 3 years | 100000 | 18000 | 118000
*Note I: - AMC on Glasswares, Consumables or Furnitures not applicable such as testubes, chemicals, working tables etc. Incase of any fragmentation of any item during the transit will be replaced immediately. - All miscelleneous items will be repaired and not replaced.
** Note II: - 1 compulsory visit and 1 on call visit on request will be done every year.