## Sheet1
Sr. No. | Model Name/ Principle | Specification | Qty. |  | Unit |  | Rate/ |  |  | Amount |  | GST @18% (Rs.) |  | Amount (Inclusive of Tax) (Rs.) |  | No. of schools | Total
[7 empty] | unit |  |  | (Exclusive of Tax) (Rs.)
(in Rs.)
A | Integrated Science, Maths Lab
1 | Constellation Viewer | Identification and study of Indian constellations | 1 |  | No. |  | 8100 |  |  | 8100 |  | 1458 |  | 9558
About Constellations Stars Pattern
2 | Newton's Disc | White light is made up of 7 colours (VIBGYOR). | 1 |  | No. |  | 4800 |  |  | 4800 |  | 864 |  | 5664
Splitting of white light.
3 | Colour Shadow | Combinations of colour lights. | 1 |  | No. |  | 8430 |  |  | 8430 |  | 1517 |  | 9947
Additive mixture of colour.
Primary colours.
4 | Periscope | Application of laws of reflection. Angle of incidence and angle of reflection | 1 |  | No. |  | 8910 |  |  | 8910 |  | 1604 |  | 10514
5 | Kaleidoscope | Multiple reflection. Symmetric images. Patterns due to reflection | 1 |  | No. |  | 4780 |  |  | 4780 |  | 860 |  | 5640
6 | Laws of Reflection | Laws of reflection for plane mirror. Angle of incidence = angle of reflection. | 1 |  | No. |  | 4780 |  |  | 4780 |  | 860 |  | 5640
7 | Corner Mirror | Multiple reflection. | 1 |  | No. |  | 7730 |  |  | 7730 |  | 1391 |  | 9121
Image formula (N=360/A - 1)
Angled mirrors.
8 | Infinity Well | Multiple reflections. Image formation in parallel mirrors. | 1 |  | No. |  | 8320 |  |  | 8320 |  | 1498 |  | 9818
9 | Magic Water Tap | Optical Illusion. Refractive index of medium, refraction | 1 |  | No. |  | 8680 |  |  | 8680 |  | 1562 |  | 10242
10 | Total Internal Reflection. | Total internal reflection, bending of light ray. Optical fibre | 1 |  | No. |  | 8320 |  |  | 8320 |  | 1498 |  | 9818
11 | Fun with Magnets | Types of magnets Magnetic field and properties of field lines. | 1 |  | No. |  | 4780 |  |  | 4780 |  | 860 |  | 5640
12 | Law of Inertia | Newton's first law. Inertia is opposing change in state of rest. | 1 |  | No. |  | 8910 |  |  | 8910 |  | 1604 |  | 10514
13 | Circle and Ball | Newton's first law. Inertia is opposing change in motion. Centripetal force. | 1 |  | No. |  | 8900 |  |  | 8900 |  | 1602 |  | 10502
14 | Action and Reaction | Newton's 3rd law of motion. For every action there is equal opposite and reaction | 1 |  | No. |  | 7730 |  |  | 7730 |  | 1391 |  | 9121
15 | Parrot in the Cage | Persistence of vision. Frames per second. The basic concept of animation. | 1 |  | No. |  | 6550 |  |  | 6550 |  | 1179 |  | 7729
16 | Zoetrope | Persistence of vision. Frames per second. The basic concept of motion picture. | 1 |  | No. |  | 8320 |  |  | 8320 |  | 1498 |  | 9818
17 | Pin screen | Pressure Inverse relation of Pressure Area Representation of | 1 |  | No. |  | 8800 |  |  | 8800 |  | 1584 |  | 10384
pixels
18 | Floating Ball | Bernoulli's principle. Pressure difference and lift. | 1 |  | No. |  | 7730 |  |  | 7730 |  | 1391 |  | 9121
19 | Floating Fan | Bernoulli's principle. Air pressuredifference | 1 |  | No. |  | 8670 |  |  | 8670 |  | 1561 |  | 10231
20 | Tornado | Atmospheric disturbances, currents, storms. | 1 |  | No. |  | 7230 |  |  | 7230 |  | 1301 |  | 8531
Vortex of wind.
21 | Hand Pump | Application of pressure to pump water. Pressure- volume relation. | 1 |  | No. |  | 8200 |  |  | 8200 |  | 1476 |  | 9676
22 | Anamorph | Perspective, Viewpoints Illusion and | 1 |  | No. |  | 7800 |  |  | 7800 |  | 1404 |  | 9204
Graphical projection
23 | Floating Magnets | Properties of magnet. | 1 |  | No. |  | 7600 |  |  | 7600 |  | 1368 |  | 8968
Attraction in opposite poles and repulsion in like poles
24 | Magnetic Field Tube & Immiscible Fluid | Magnetic field and properties of magnets. Density of liquid | 1 |  | No. |  | 7300 |  |  | 7300 |  | 1314 |  | 8614
25 | Moment of inertia | Moment of inertia Rotational inertia. Distribution of mass. | 1 |  | No. |  | 8410 |  |  | 8410 |  | 1514 |  | 9924
26 | Lazy Tube | Magnetic Field and Forces, Eddy current, Lenz Law. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
27 | Hyperbola | Conic sections. Shape of hyperbola. | 1 |  | No. |  | 7230 |  |  | 7230 |  | 1301 |  | 8531
28 | Magnetic effect of electric current | Magnetism Magnetic effects of electric current. | 1 |  | No. |  | 7820 |  |  | 7820 |  | 1408 |  | 9228
Compass deflection.
Oesterd’s experiment
29 | Pythagoras Model & Moire Pattern | Pythagoras theorem and Interference of Light | 1 |  | No. |  | 7820 |  |  | 7820 |  | 1408 |  | 9228
30 | Elliptical Carrom Board | Conic sections. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
Properties of ellipse.
31 | Two Congruent Right Triangles | Comparison of area of different geometric shapes. Congruent shapes. | 1 |  | No. |  | 4280 |  |  | 4280 |  | 770 |  | 5050
32 | Area of a Circle | Simple illustration of derivation of area of circle | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
33 | (a+b)2 | Geometric illustration of basic algebraic identity. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
=a2+2ab+b2
34 | (a+b+c)2 = a2+b2+c2+2ab+ 2bc+2ca | Geometric illustration of basic algebraic identity. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
35 | a2-b2=(a+b) (a-b) | Geometric illustration of basic algebraic identity. | 1 |  | No. |  | 7820 |  |  | 7820 |  | 1408 |  | 9228
36 | Sum of the angles of a triangle | Elementary theorem of math. "Sum of all three angles of any triangle=180 ° Linear pair. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
37 | Tangram | Interesting tiling puzzle. Basic geometric shapes. | 1 |  | No. |  | 4190 |  |  | 4190 |  | 754 |  | 4944
38 | Parking Puzzle | Mathematical logic Algorithm Brain Teaser | 1 |  | No. |  | 8600 |  |  | 8600 |  | 1548 |  | 10148
39 | Organ pipes | Sound of different frequencies and wavelengths. Musical notes. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
40 | Area of rhombus | Simple illustration of derivation of area of rhombus | 1 |  | No. |  | 9700 |  |  | 9700 |  | 1746 |  | 11446
41 | Transverse wave pendulum | Mechanical wave. Basic concepts of transverse wave. | 1 |  | No. |  | 7820 |  |  | 7820 |  | 1408 |  | 9228
Actual Representation of vibrating particles and propagating wave
42 | Area of triangle | Simple illustration of derivation of Area of Triangle | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
43 | Area of parallelogram | Simple illustration of derivation of area of parallelogram | 1 |  | No. |  | 7800 |  |  | 7800 |  | 1404 |  | 9204
44 | Coupled Pendulum | Resonant frequency. | 1 |  | No. |  | 8100 |  |  | 8100 |  | 1458 |  | 9558
The resonant frequency depends on the pendulum’s length. Longer pendulums have lower frequencies.
45 | Solar Light | Conversion of solar energy into electricity. | 1 |  | No. |  | 9800 |  |  | 9800 |  | 1764 |  | 11564
Application of renewable energy sources.
Solar panel, semiconductors.
46 | Wind Mill | Working of wind mill. Conversion of wind energy into electricity. | 1 |  | No. |  | 7900 |  |  | 7900 |  | 1422 |  | 9322
47 | Shape of earth due to rotation | Shape of earth Rotational force Centrifugal force | 1 |  | No. |  | 8300 |  |  | 8300 |  | 1494 |  | 9794
48 | KE PE Track | Conversion of energy. Potential and Kinetic energy. | 1 |  | No. |  | 9300 |  |  | 9300 |  | 1674 |  | 10974
49 | Loop The Loop | Conservation of energy. The minimum speed necessary to complete the loop without falling. | 1 |  | No. |  | 4190 |  |  | 4190 |  | 754 |  | 4944
50 | Rope Puzzle | Logic and Mathematical shapes study of surfaces | 1 |  | No. |  | 8900 |  |  | 8900 |  | 1602 |  | 10502
51 | Refraction Cylinder | Refraction of light Alphabet symmetry | 1 |  | No. |  | 8300 |  |  | 8300 |  | 1494 |  | 9794
52 | Newton's Cradle | Conservation of energy, conservation of momentum and friction. | 1 |  | No. |  | 9300 |  |  | 9300 |  | 1674 |  | 10974
53 | Reflection Transmission | Application of laws of reflection. Reflection and | 1 |  | No. |  | 7300 |  |  | 7300 |  | 1314 |  | 8614
Transmission of light.
54 | Hand Battery | Electric potential difference. Electric battery. Chemical effect of electric current | 1 |  | No. |  | 8000 |  |  | 8000 |  | 1440 |  | 9440
55 | Day and Night | Cycle of day and night on earth. Shadows. Seasons, angle of tilt. | 1 |  | No. |  | 7650 |  |  | 7650 |  | 1377 |  | 9027
56 | Cone Run Uphill | Centre of mass.Gravity pulls on the centre of mass of objects. | 1 |  | No. |  | 9600 |  |  | 9600 |  | 1728 |  | 11328
57 | Tower Of Pisa | Center of mass. Centre of gravity. Gravitation. Stability of structure. | 1 |  | No. |  | 6100 |  |  | 6100 |  | 1098 |  | 7198
58 | Lever | Simple Machines Lever. Type of lever. | 1 |  | No. |  | 9300 |  |  | 9300 |  | 1674 |  | 10974
59 | Pulley Block | Pulley- simple machine. | 1 |  | No. |  | 8100 |  |  | 8100 |  | 1458 |  | 9558
Combination of pulley. Mechanical Advantage.
60 | Wheel and Axle | How it is easy to rotate wheel when force is applied at a point distant from center. | 1 |  | No. |  | 7600 |  |  | 7600 |  | 1368 |  | 8968
61 | Heat Absorption | Black Body, Heat Absorption and | 1 |  | No. |  | 9300 |  |  | 9300 |  | 1674 |  | 10974
Reflection, Colour Temperature
62 | Conductors and Insulators | Electrical conductivity | 1 |  | No. |  | 9500 |  |  | 9500 |  | 1710 |  | 11210
Types of conductor and insulator
63 | Viscosity Tube | Buoyancy. Viscosity. | 1 |  | No. |  | 9700 |  |  | 9700 |  | 1746 |  | 11446
Density
64 | Rock and Minerals | Different types of rock and mineral samples. Difference between them. | 1 |  | No. |  | 5280 |  |  | 5280 |  | 950 |  | 6230
65 | DNA | Double helix structure of DNA. A-Tand G-C pairs. | 1 |  | No. |  | 8300 |  |  | 8300 |  | 1494 |  | 9794
66 | Lateral Shift | Refraction of light, deviation in path. | 1 |  | No. |  | 7300 |  |  | 7300 |  | 1314 |  | 8614
67 | Force & types of friction | Friction, speed due to surface texture. | 1 |  | No. |  | 4280 |  |  | 4280 |  | 770 |  | 5050
Rolling Friction.
68 | Funny mirrors | Distorted mirror. Convex and concave mirrors | 1 |  | No. |  | 4380 |  |  | 4380 |  | 788 |  | 5168
69 | Marble Slide | Conservation of momentum. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
70 | Resonance | Frequency and length of object, resonating frequency. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
71 | Centrifuge Puzzle | Centripetal and Centrifugal force. | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
72 | Area of Trapezium | Area of trapezium using parallelogram | 1 |  | No. |  | 4280 |  |  | 4280 |  | 770 |  | 5050
73 | Sum of angles of Quadrilateral | Sum of angles of Quadrilateral Complete angle | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
74 | (A+B)^2 -(A-B)^2 | Geometric illustration of basic algebraic identity. | 1 |  | No. |  | 7300 |  |  | 7300 |  | 1314 |  | 8614
= 4AB
75 | Electric bell | Electric Circuit, Electromagnet and magnetic effects of current | 1 |  | No. |  | 6050 |  |  | 6050 |  | 1089 |  | 7139
76 | Human Torso | Human Body Anatomy Organs | 1 |  | No. |  | 6100 |  |  | 6100 |  | 1098 |  | 7198
Functions of Body parts
77 | Ear & Eye | Sense organs Functions of body parts | 1 |  | No. |  | 9650 |  |  | 9650 |  | 1737 |  | 11387
Vision Hearing
78 | Human Joints | Types of joint In human body | 1 |  | No. |  | 10100 |  |  | 10100 |  | 1818 |  | 11918
Bones and ligaments
79 | Plant Cell | Eukaryotic cells Difference between cells | 1 |  | No. |  | 11750 |  |  | 11750 |  | 2115 |  | 13865
Parts of cell
80 | Animal Cell | Difference between cells, Parts of cell | 1 |  | No. |  | 8700 |  |  | 8700 |  | 1566 |  | 10266
111 | TRAINING OF TEACHERS | Total - 2 visits | 2 |  | No. |  | 17500 |  |  | 35000 |  | 6300 |  | 41300
112 | INFRASTRUCTURE | MDF Board (2 ft width) | 1 |  | No. |  | 66182 |  |  | 66182 |  | 11913 |  | 78095
45 pcs Iron Brackets
5 pcs Electric Casing
Switch and Socket 20pcs each
10 pcs socket box
Wodden Bit 14 pcs of 7.5 ft
Steel wall nails (2kg)
Red & Black Wire 40 mtr Each
1 MCB
100 pcs Screw (1inch)
114 | Base line & Endline Survey |  | 1 |  | No. |  | 35000 |  |  | 35000 |  | 6300 |  | 41300
Grand Total |  |  | 1 | [6 empty] | 731352 |  | 131643 |  | 862995 |  | 20 | 17259900
B | Tinkering Lab
115 | A) 5 Android Mobile | Android Operating System 2.3 ("Gingerbread") or higher and 2 GB RAM | 1 |  | No. |  | 50500 |  |  | 50500 |  | 9090 |  | 59590
(Whichever model you have, your phone must have an SD card (physical or virtual) installed.)
116 | B) 10 Arduino Program kit (Include Arduino UNO) |  |  | 1 |  | No. |  | 40000 |  |  | 40000 |  | 7200 |  | 47200
| Arduino UNO R3 + USB Cable A/B | based on Microcontroller : ATmega328 SMD.
| Breadboard | Standard Breadboard with negative-positive rails on both
side
| RGB LEDs | 5mm LED in RGB color
| Red LEDs | 5mm LED in red color
| Green LEDs | 5mm LED in green color
| Jumper Wires (M-M) (Pack of 40) | cable length about 20cm or 8-inch
| Jumper Wires (F-F) (Pack of 40) | cable length about 20cm or 8-inch
| Jumper Wires (F-M) (Pack of 40) | cable length about 20cm or 8-inch
| Sound Buzzer | Buzzers Indicator, Internally Driven Magnetic 5 V 30mA 2.4kHz 85dB @ 5V, 10cm Through Hole
PC Pins
| Touch Sensor | touch-sensing IC (TTP223)
Sound Detection Sensor Module
Water Sensor
| Tilt sensor | SW-520D Tilt Sensor
| Vibration Sensor | SW-420
| Potenitiometer | 10k Ohm Variable Resistor (3386
Package) - Trimpot Trimmer Potentiometer
| LDR Sensor | Light Dependent Resistor
| I2C Sesor | LCD 1602 Parallel LCD
| IR Sensor | Infrared sensor
| Fire / Flame Sensor | Comparator chip LM393
| Air Quality Sensor | MQ135 Sensor
| Ultrasonic sensor | HC-SR04-Ultrasonic Range Finder
| Weather monitoring sensor | DHT11 Sensor
| Joystick module pinout | Internal Potentiometer value: 10k 2.54mm pin interface leads
| 4*4 Keypad | 4×4 Matrix Keypad Membrane Switch
117 | C) 10 Basic Robotics Kit |  | 1 |  | No. |  | 42000 |  |  | 42000 |  | 7560 |  | 49560
| Breadboard Powersupply | MB102 Breadboard Power Supply module
| Breadboard | Standard Breadboard with negative-positive rails on both
side
| Resister Kits Values: | Assorted Box
| Variable Resistors | 100Ω,1K,2K
| LEDs Kit | RGB LEDs (4 Pin Tri Color Diffused Light Lamp LED Diode Rgb)
Red LEDs 5mm
White LEDs 5mm
Blue LEDs 5mm
Green LEDs 5mm
| Push Buttons | Push Button Switch 4 Pin - 5mm
| Potentiometers | 1K ohm Variable Resistor - Trimpot (RM065 Package)
| Sound Buzzer | Buzzers Indicator, Internally Driven Magnetic 5 V 30mA 2.4kHz 85dB @ 5V, 10cm Through Hole
PC Pins
| Multimeter | 1M Ohm Impedance
| Capacitor | 1000uf/25V
9v Battery
9v Battery Clips
Jumper Wires (Male -Male)
9v - 12v adapter plug
118 | D) Set Of Basic Components | (Include Resistors, Capacitors, LEDs, etc.) | 1 |  | No. |  | 35000 |  |  | 35000 |  | 6300 |  | 41300
119 | E) General Purpose Sensors (LCD, LDR, Ultrasonic Sensors, etc.) | Rain Drop Sensor | 1 |  | No. |  | 30000 |  |  | 30000 |  | 5400 |  | 35400
LM393 Sound Sensor
Soil Moisture Sensor
MQ 3
Hall Effect Sensor
Metal Detector Sensor
Force Sensitive Sensor
MPU6050(6 DOF,3 axis Gyro &Accelerometer)
PIR Sensor
BMP 280 pressure sensor
120 | F) Wireless Sensors (Bluetooth) | Bluetooth Module (HC-05) | 1 |  | No. |  | 13350 |  |  | 13350 |  | 2403 |  | 15753
121 | G) Advance DIY Robotic Kit (Robotic Arm, Walking Robot) |  |  | 1 |  | No. |  | 26500 |  |  | 26500 |  | 4770 |  | 31270
| Pluto 1.2 | Drone kit
| Otto Robot | Human robot ( OTTO Interactive DIY Robot for Kids )
122 | H) Programming Drone |  | 1 |  | No. |  | 19000 |  |  | 19000 |  | 3420 |  | 22420
123 | I) Soldering & Prototyping Kits | Soldering Gun
Soldering Paste
Soldering Wire - 500gm
Heat Shrink Tube (100 Meters)
Wire Stripper
Mini Handsaw
Power Strip
Glue Gun With Sticks
Flexible Cutting Mat (18" x 12")
Small Fire Extinguisher
First aid Kit
Latex Coating gloves
Safety Glasses
124 | J) 1 DIY Robotics kit |  |  | 1 |  | No. |  | 21250 |  |  | 21250 |  | 3825 |  | 25075
Robot Structure - 2 Wheels Chassis
| Robot Structure -BO Motors | The 200 RPM Dual Shaft BO
Motor
| Robot Structure - BO Wheels | 7cm Dia. x 1cm Width
| Robot Structure - Castrol Wheel | Goli Castor Wheel (Pack of 4)
| Arduino Uno + USB | based on Microcontroller : ATmega328 SMD.
| L298n Motor Driver | L298n Motor Driver
| Mini Breadboard | 400 Points Half Size Solderless Breadboard
Jumper Wires (M-M) (Pack of 40)
Jumper Wires (F-F) (Pack of 40)
Jumper Wires (F-M) (Pack of 40)
Hook-up Wires (92 Meters)
IR Proximity Sensor
| Bluetooth Module (HC-05) | (HC-05)
Ultrasonic Sensor
| Servo Motor | Tower Pro SG90 Servo - 9 gms Mini/Micro Servo Motor
Rechargeable 12v Batteries (cells)
Battery cover
Battery Charger Adapter 12v
Screw Driver Kit
Double Sided Tape
Black Insulation Tape
125 | K) Set of Hardware Tools |  | 1 |  | No. |  | 14000 |  |  | 14000 |  | 2520 |  | 16520
126 | L) Safety Equipments | Soldering Gun | 1 |  | No. |  | 14800 |  |  | 14800 |  | 2664 |  | 17464
Soldering Paste
Soldering Wire - 500gm
Heat Shrink Tube (100 Meters)
Wire Stripper
Mini Handsaw
Power Strip
Glue Gun With Sticks
Flexible Cutting Mat (18" x 12")
Small Fire Extinguisher
First aid Kit
Latex Coating gloves
Safety Glasses
127 | M) Back Drops& lab setup |  | 1 |  | No. |  | 18600 |  |  | 18600 |  | 3348 |  | 21948
128 | N) Study Book for Tinker lab |  | 1 |  | No. |  | 20000 |  |  | 20000 |  | 3600 |  | 23600
129 | Learning Tools | (video lessons plan training Manual and Software Installation ) | 1 |  | No. |  | 80000 |  |  | 80000 |  | 14400 |  | 94400
130 | 1 - 3D Printer | ( including Consumable) | 1 |  | No. |  | 75000 |  |  | 75000 |  | 13500 |  | 88500
131 | Training | ( 15 Training in each schools with reporting and documentation) | 1 |  | No. |  | 2,00,000 |  |  | 2,00,000 |  | 36000 |  | 2,36,000
| Total Tinkering Lab (B) | [8 empty] | 700000 |  | 126000 |  | 826000 |  | 7 | 5782000
C | Astronomy Lab
a | Lab Models
1 | Astraonaut fibre model of 5' height | Fibre and wooden base | 1 |  | No. |  | 61710 |  |  | 61710 |  | 11108 |  | 72818
2 | Interior of the Sun model | Fibre and wooden base | 1 |  | No. |  | 11688 |  |  | 11688 |  | 2104 |  | 13791
3 | Illuminated Earth model | Fibre and wooden base | 1 |  | No. |  | 11688 |  |  | 11688 |  | 2104 |  | 13791
4 | Glowing Moon model | Fibre, print, light and wooden base | 1 |  | No. |  | 12155 |  |  | 12155 |  | 2188 |  | 14343
5 | Mars 3 D globe | Globe, print and acrylic structure-base | 1 |  | No. |  | 11220 |  |  | 11220 |  | 2020 |  | 13240
6 | How eclipses occur ? Model | Balls, print, motor,on-off button, acrylic/wooden base | 1 |  | No. |  | 7480 |  |  | 7480 |  | 1346 |  | 8826
7 | Annular and Total Solar Eclipse model | Acrylic structure, motor, base, on-off button | 1 |  | No. |  | 8883 |  |  | 8883 |  | 1599 |  | 10481
8 | Celestial globe model | Globe, acrylic base Print | 1 |  | No. |  | 8415 |  |  | 8415 |  | 1515 |  | 9930
9 | illuminated Sky globe model | Globe, light, print, acrylic base | 1 |  | No. |  | 8883 |  |  | 8883 |  | 1599 |  | 10481
10 | Celestial coordinates model | Fibre, acrylic base and print | 1 |  | No. |  | 7480 |  |  | 7480 |  | 1346 |  | 8826
11 | Wall mounted Tarangan (Planisphere) model | Fibre, acrylic base and print | 1 |  | No. |  | 10753 |  |  | 10753 |  | 1935 |  | 12688
12 | Sun's path model | Acrylic structure, base and print | 1 |  | No. |  | 12155 |  |  | 12155 |  | 2188 |  | 14343
13 | Ray diagram of Newtonian telescope model | Acrylic structure, base and print | 1 |  | No. |  | 12623 |  |  | 12623 |  | 2272 |  | 14895
14 | Parallax mehtod of star distance model | Acrylic structure, base and print | 1 |  | No. |  | 8883 |  |  | 8883 |  | 1599 |  | 10481
15 | Dispersion of light model | Acrylic, glass and laser | 1 |  | No. |  | 10753 |  |  | 10753 |  | 1935 |  | 12688
16 | Newton's disk model | Color disk, acrylic structure, dvd motor, adapter, regulator with nob & on-off button | 1 |  | No. |  | 4208 |  |  | 4208 |  | 757 |  | 4965
17 | Geostationary satellite model | Acrylic body, acrylic base, motor, on-off button | 1 |  | No. |  | 11688 |  |  | 11688 |  | 2104 |  | 13791
18 | Polar satellite model | Acrylic body, acrylic base, motor, on-off button | 1 |  | No. |  | 6545 |  |  | 6545 |  | 1178 |  | 7723
19 | Indian satellite - Kalpana 1 model, Aryabhata and Mars Orbiter | Fibre, motor and wooden base | 1 |  | No. |  | 49555 |  |  | 49555 |  | 8920 |  | 58475
20 | ISRO scale models of GSLV Mk II, PSLV and satellite launch station model | Fibre, motor and wooden base | 1 |  | No. |  | 70125 |  |  | 70125 |  | 12623 |  | 82748
21 | GMRT dish antenna model | Fibre, print and base wooden | 1 |  | No. |  | 9350 |  |  | 9350 |  | 1683 |  | 11033
22 | Motorized 3D solar system model | Globe, motor, on-off button, print, acrylic structure | 1 |  | No. |  | 8415 |  |  | 8415 |  | 1515 |  | 9930
23 | Weight on different planets | Metalic strucutre, sunboard sheet, different weight | 1 |  | No. |  | 11688 |  |  | 11688 |  | 2104 |  | 13791
24 | Space 4 D flash cards | Flash card and print | 1 |  | No. |  | 7013 |  |  | 7013 |  | 1262 |  | 8275
25 | Automatic 4" telescope with software based alignment and locating the stars | Telescope | 1 |  | No. |  | 11688 |  |  | 11688 |  | 2104 |  | 13791
26 | 10 x 50 Binocular for Astronomy | Binocular | 1 |  | No. |  | 4675 |  |  | 4675 |  | 842 |  | 5517
27 | Dobsonian 150 mm telescope | Dobsonian telescope | 1 |  | No. |  | 21038 |  |  | 21038 |  | 3787 |  | 24824
b | Activity kits, tab, books etc. | [7 empty] | -
28 | Tarangan dial 20 numbers @ Rs 30 |  | 20 |  | No. |  | 257 |  |  | 5143 |  | 926 |  | 6068
29 | Spectroscope kit 20 number @ 50 |  | 20 |  | No. |  | 655 |  |  | 13090 |  | 2356 |  | 15446
30 | Telescope making kit 20 number @ 200 |  | 20 |  | No. |  | 374 |  |  | 7480 |  | 1346 |  | 8826
31 | Star projection 5 number @ 300 |  | 5 |  | No. |  | 1029 |  |  | 5143 |  | 926 |  | 6068
32 | Astrolabe 20 number @ 240 |  | 20 |  | No. |  | 1403 |  |  | 28050 |  | 5049 |  | 33099
33 | Star chart Northern and Southern hemisphere 10 number @ Rs 100 |  | 10 |  | No. |  | 935 |  |  | 9350 |  | 1683 |  | 11033
34 | Books on Astronomy |  | 2 |  | No. |  | 935 |  |  | 1870 |  | 337 |  | 2207
35 | Tab |  | 1 |  | No. |  | 4675 |  |  | 4675 |  | 842 |  | 5517
c | Transportation & Installation | Transportation of goods, conveyence of staff & installation of lab | 1 |  | No. |  | 51425 |  |  | 51425 |  | 9257 |  | 60682
d | Backgrounds | Wall and Roof wallpapers and other wall finishing work (depends on size of hall) | 1 |  | No. |  | 1,40,250 |  |  | 1,40,250 |  | 25245 |  | 1,65,495
e | Training | Orientation of the project to the teachers | 1 |  | No. |  | 70125 |  |  | 70125 |  | 12623 |  | 82748
f | Infrastructure | Table Platform, electrical points & wiring | 1 |  | No. |  | 1,87,000 |  |  | 1,87,000 |  | 33660 |  | 2,20,660
g | Base line & Endline Survey |  | 1 |  | No. |  | 46750 |  |  | 46750 |  | 8415 |  | 55165
Total Astronomy Lab ( C) | [9 empty] | 991100 |  | 178398 |  | 1169498 |  | 2 | 2338996

## MSC (110)
Sr. No. | Model Name/ Principle | Specification | Qty. | Unit | Rate/ | Amount | GST @18% (Rs.) | Amount (Inclusive of Tax) (Rs.) | No. of Schools | Total
[5 empty] | unit | (Exclusive of Tax) (Rs.)
(in Rs.)
1 | Constellation Viewer | Identification and study of Indian constellations | 1 | No. | 8100 | 8100 | 1458 | 9558 | 4 | 38232
About Constellations Stars Pattern
2 | Newton's Disc | White light is made up of 7 colours (VIBGYOR). | 1 | No. | 4800 | 4800 | 864 | 5664 | 4 | 22656
Splitting of white light.
3 | Colour Shadow | Combinations of colour lights. | 1 | No. | 8430 | 8430 | 1517 | 9947 | 4 | 39788
Additive mixture of colour.
Primary colours.
4 | Periscope | Application of laws of reflection. Angle of incidence and angle of reflection | 1 | No. | 8910 | 8910 | 1604 | 10514 | 4 | 42056
5 | Kaleidoscope | Multiple reflection. Symmetric images. Patterns due to reflection | 1 | No. | 4780 | 4780 | 860 | 5640 | 4 | 22560
6 | Laws of Reflection | Laws of reflection for plane mirror. Angle of incidence = angle of reflection. | 1 | No. | 4780 | 4780 | 860 | 5640 | 4 | 22560
7 | Corner Mirror | Multiple reflection. | 1 | No. | 7730 | 7730 | 1391 | 9121 | 4 | 36484
Image formula (N=360/A - 1)
Angled mirrors.
8 | Infinity Well | Multiple reflections. Image formation in parallel mirrors. | 1 | No. | 8320 | 8320 | 1498 | 9818 | 4 | 39272
9 | Magic Water Tap | Optical Illusion. Refractive index of medium, refraction | 1 | No. | 8680 | 8680 | 1562 | 10242 | 4 | 40968
10 | Total Internal Reflection. | Total internal reflection, bending of light ray. Optical fibre | 1 | No. | 8320 | 8320 | 1498 | 9818 | 4 | 39272
11 | Fun with Magnets | Types of magnets Magnetic field and properties of field lines. | 1 | No. | 4780 | 4780 | 860 | 5640 | 4 | 22560
12 | Law of Inertia | Newton's first law. Inertia is opposing change in state of rest. | 1 | No. | 8910 | 8910 | 1604 | 10514 | 4 | 42056
13 | Circle and Ball | Newton's first law. Inertia is opposing change in motion. Centripetal force. | 1 | No. | 8900 | 8900 | 1602 | 10502 | 4 | 42008
14 | Action and Reaction | Newton's 3rd law of motion. For every action there is equal opposite and reaction | 1 | No. | 7730 | 7730 | 1391 | 9121 | 4 | 36484
15 | Parrot in the Cage | Persistence of vision. Frames per second. The basic concept of animation. | 1 | No. | 6550 | 6550 | 1179 | 7729 | 4 | 30916
16 | Zoetrope | Persistence of vision. Frames per second. The basic concept of motion picture. | 1 | No. | 8320 | 8320 | 1498 | 9818 | 4 | 39272
17 | Pin screen | Pressure Inverse relation of Pressure Area Representation of | 1 | No. | 8800 | 8800 | 1584 | 10384 | 4 | 41536
pixels
18 | Floating Ball | Bernoulli's principle. Pressure difference and lift. | 1 | No. | 7730 | 7730 | 1391 | 9121 | 4 | 36484
19 | Floating Fan | Bernoulli's principle. Air pressuredifference | 1 | No. | 8670 | 8670 | 1561 | 10231 | 4 | 40924
20 | Tornado | Atmospheric disturbances, currents, storms. | 1 | No. | 7230 | 7230 | 1301 | 8531 | 4 | 34124
Vortex of wind.
21 | Hand Pump | Application of pressure to pump water. Pressure- volume relation. | 1 | No. | 8200 | 8200 | 1476 | 9676 | 4 | 38704
22 | Anamorph | Perspective, Viewpoints Illusion and | 1 | No. | 7800 | 7800 | 1404 | 9204 | 4 | 36816
Graphical projection
23 | Floating Magnets | Properties of magnet. | 1 | No. | 7600 | 7600 | 1368 | 8968 | 4 | 35872
Attraction in opposite poles and repulsion in like poles
24 | Magnetic Field Tube & Immiscible Fluid | Magnetic field and properties of magnets. Density of liquid | 1 | No. | 7300 | 7300 | 1314 | 8614 | 4 | 34456
25 | Moment of inertia | Moment of inertia Rotational inertia. Distribution of mass. | 1 | No. | 8410 | 8410 | 1514 | 9924 | 4 | 39696
26 | Lazy Tube | Magnetic Field and Forces, Eddy current, Lenz Law. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
27 | Hyperbola | Conic sections. Shape of hyperbola. | 1 | No. | 7230 | 7230 | 1301 | 8531 | 4 | 34124
28 | Magnetic effect of electric current | Magnetism Magnetic effects of electric current. | 1 | No. | 7820 | 7820 | 1408 | 9228 | 4 | 36912
Compass deflection.
Oesterd’s experiment
29 | Pythagoras Model & Moire Pattern | Pythagoras theorem and Interference of Light | 1 | No. | 7820 | 7820 | 1408 | 9228 | 4 | 36912
30 | Elliptical Carrom Board | Conic sections. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
Properties of ellipse.
31 | Two Congruent Right Triangles | Comparison of area of different geometric shapes. Congruent shapes. | 1 | No. | 4280 | 4280 | 770 | 5050 | 4 | 20200
32 | Area of a Circle | Simple illustration of derivation of area of circle | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
33 | (a+b)2 | Geometric illustration of basic algebraic identity. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
=a2+2ab+b2
34 | (a+b+c)2 = a2+b2+c2+2ab+ 2bc+2ca | Geometric illustration of basic algebraic identity. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
35 | a2-b2=(a+b) (a-b) | Geometric illustration of basic algebraic identity. | 1 | No. | 7820 | 7820 | 1408 | 9228 | 4 | 36912
36 | Sum of the angles of a triangle | Elementary theorem of math. "Sum of all three angles of any triangle=180 ° Linear pair. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
37 | Tangram | Interesting tiling puzzle. Basic geometric shapes. | 1 | No. | 4190 | 4190 | 754 | 4944 | 4 | 19776
38 | Parking Puzzle | Mathematical logic Algorithm Brain Teaser | 1 | No. | 8600 | 8600 | 1548 | 10148 | 4 | 40592
39 | Organ pipes | Sound of different frequencies and wavelengths. Musical notes. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
40 | Area of rhombus | Simple illustration of derivation of area of rhombus | 1 | No. | 9700 | 9700 | 1746 | 11446 | 4 | 45784
41 | Transverse wave pendulum | Mechanical wave. Basic concepts of transverse wave. | 1 | No. | 7820 | 7820 | 1408 | 9228 | 4 | 36912
Actual Representation of vibrating particles and propagating wave
42 | Area of triangle | Simple illustration of derivation of Area of Triangle | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
43 | Area of parallelogram | Simple illustration of derivation of area of parallelogram | 1 | No. | 7800 | 7800 | 1404 | 9204 | 4 | 36816
44 | Coupled Pendulum | Resonant frequency. | 1 | No. | 8100 | 8100 | 1458 | 9558 | 4 | 38232
The resonant frequency depends on the pendulum’s length. Longer pendulums have lower frequencies.
45 | Solar Light | Conversion of solar energy into electricity. | 1 | No. | 9800 | 9800 | 1764 | 11564 | 4 | 46256
Application of renewable energy sources.
Solar panel, semiconductors.
46 | Wind Mill | Working of wind mill. Conversion of wind energy into electricity. | 1 | No. | 7900 | 7900 | 1422 | 9322 | 4 | 37288
47 | Shape of earth due to rotation | Shape of earth Rotational force Centrifugal force | 1 | No. | 8300 | 8300 | 1494 | 9794 | 4 | 39176
48 | KE PE Track | Conversion of energy. Potential and Kinetic energy. | 1 | No. | 9300 | 9300 | 1674 | 10974 | 4 | 43896
49 | Loop The Loop | Conservation of energy. The minimum speed necessary to complete the loop without falling. | 1 | No. | 4190 | 4190 | 754 | 4944 | 4 | 19776
50 | Rope Puzzle | Logic and Mathematical shapes study of surfaces | 1 | No. | 8900 | 8900 | 1602 | 10502 | 4 | 42008
51 | Refraction Cylinder | Refraction of light Alphabet symmetry | 1 | No. | 8300 | 8300 | 1494 | 9794 | 4 | 39176
52 | Newton's Cradle | Conservation of energy, conservation of momentum and friction. | 1 | No. | 9300 | 9300 | 1674 | 10974 | 4 | 43896
53 | Reflection Transmission | Application of laws of reflection. Reflection and | 1 | No. | 7300 | 7300 | 1314 | 8614 | 4 | 34456
Transmission of light.
54 | Hand Battery | Electric potential difference. Electric battery. Chemical effect of electric current | 1 | No. | 8000 | 8000 | 1440 | 9440 | 4 | 37760
55 | Day and Night | Cycle of day and night on earth. Shadows. Seasons, angle of tilt. | 1 | No. | 7650 | 7650 | 1377 | 9027 | 4 | 36108
56 | Cone Run Uphill | Centre of mass.Gravity pulls on the centre of mass of objects. | 1 | No. | 9600 | 9600 | 1728 | 11328 | 4 | 45312
57 | Tower Of Pisa | Center of mass. Centre of gravity. Gravitation. Stability of structure. | 1 | No. | 6100 | 6100 | 1098 | 7198 | 4 | 28792
58 | Lever | Simple Machines Lever. Type of lever. | 1 | No. | 9300 | 9300 | 1674 | 10974 | 4 | 43896
59 | Pulley Block | Pulley- simple machine. | 1 | No. | 8100 | 8100 | 1458 | 9558 | 4 | 38232
Combination of pulley. Mechanical Advantage.
60 | Wheel and Axle | How it is easy to rotate wheel when force is applied at a point distant from center. | 1 | No. | 7600 | 7600 | 1368 | 8968 | 4 | 35872
61 | Heat Absorption | Black Body, Heat Absorption and | 1 | No. | 9300 | 9300 | 1674 | 10974 | 4 | 43896
Reflection, Colour Temperature
62 | Conductors and Insulators | Electrical conductivity | 1 | No. | 9500 | 9500 | 1710 | 11210 | 4 | 44840
Types of conductor and insulator
63 | Viscosity Tube | Buoyancy. Viscosity. | 1 | No. | 9700 | 9700 | 1746 | 11446 | 4 | 45784
Density
64 | Rock and Minerals | Different types of rock and mineral samples. Difference between them. | 1 | No. | 5280 | 5280 | 950 | 6230 | 4 | 24920
65 | DNA | Double helix structure of DNA. A-Tand G-C pairs. | 1 | No. | 8300 | 8300 | 1494 | 9794 | 4 | 39176
66 | Lateral Shift | Refraction of light, deviation in path. | 1 | No. | 7300 | 7300 | 1314 | 8614 | 4 | 34456
67 | Force & types of friction | Friction, speed due to surface texture. | 1 | No. | 4280 | 4280 | 770 | 5050 | 4 | 20200
Rolling Friction.
68 | Funny mirrors | Distorted mirror. Convex and concave mirrors | 1 | No. | 4380 | 4380 | 788 | 5168 | 4 | 20672
69 | Marble Slide | Conservation of momentum. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
70 | Resonance | Frequency and length of object, resonating frequency. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
71 | Centrifuge Puzzle | Centripetal and Centrifugal force. | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
72 | Area of Trapezium | Area of trapezium using parallelogram | 1 | No. | 4280 | 4280 | 770 | 5050 | 4 | 20200
73 | Sum of angles of Quadrilateral | Sum of angles of Quadrilateral Complete angle | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
74 | (A+B)^2 -(A-B)^2 | Geometric illustration of basic algebraic identity. | 1 | No. | 7300 | 7300 | 1314 | 8614 | 4 | 34456
= 4AB
75 | Electric bell | Electric Circuit, Electromagnet and magnetic effects of current | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
76 | Human Torso | Human Body Anatomy Organs | 1 | No. | 6100 | 6100 | 1098 | 7198 | 4 | 28792
Functions of Body parts
77 | Ear & Eye | Sense organs Functions of body parts | 1 | No. | 9650 | 9650 | 1737 | 11387 | 4 | 45548
Vision Hearing
78 | Human Joints | Types of joint In human body | 1 | No. | 10100 | 10100 | 1818 | 11918 | 4 | 47672
Bones and ligaments
79 | Plant Cell | Eukaryotic cells Difference between cells | 1 | No. | 11750 | 11750 | 2115 | 13865 | 4 | 55460
Parts of cell
80 | Animal Cell | Difference between cells, Parts of cell | 1 | No. | 8700 | 8700 | 1566 | 10266 | 4 | 41064
81 | Inclined plane | Friction, inclined plane, acceleration, weight | 1 | No. | 9650 | 9650 | 1737 | 11387 | 4 | 45548
82 | Ray optics Kit | Combination of lenses, optical centre, image formation | 1 | No. | 8400 | 8400 | 1512 | 9912 | 4 | 39648
83 | Electroscope | Types of electric charges, coulomb force | 1 | No. | 7800 | 7800 | 1404 | 9204 | 4 | 36816
84 | Atomic Kit | Atomic structure and chemical bonding | 1 | No. | 6800 | 6800 | 1224 | 8024 | 4 | 32096
85 | Pascal’s law | Pascal’s law, fluid pressure | 1 | No. | 5900 | 5900 | 1062 | 6962 | 4 | 27848
86 | Kinetic Theory Model | Gas law, kinetic energy, partial pressure | 1 | No. | 8900 | 8900 | 1602 | 10502 | 4 | 42008
87 | Bernoulli Balls | Bernoulli's principle. Pressure difference | 1 | No. | 5400 | 5400 | 972 | 6372 | 4 | 25488
88 | Hooke’s Law | Spring constant, Hooke’s law, elastic limit | 1 | No. | 9600 | 9600 | 1728 | 11328 | 4 | 45312
89 | Periodic Table | Periodic law, elements, atomic number | 1 | No. | 7100 | 7100 | 1278 | 8378 | 4 | 33512
90 | Transformer principle | Mutual induction, magnetic flux. | 1 | No. | 7680 | 7680 | 1382 | 9062 | 4 | 36248
91 | Human Kaleidoscope | Angled Mirror Multiple reflection | 1 | No. | 6600 | 6600 | 1188 | 7788 | 4 | 31152
92 | Van De Graaff Generator | Electrostatics, charges, conversion of energy | 1 | No. | 7100 | 7100 | 1278 | 8378 | 4 | 33512
93 | Radiometer | Electromagnetic radiation, wave property of light | 1 | No. | 6600 | 6600 | 1188 | 7788 | 4 | 31152
94 | Wave Motion | Properties of wave, sinusoidal wave or a transverse wave. | 1 | No. | 5580 | 5580 | 1004 | 6584 | 4 | 26336
The crests and troughs of a wave.
95 | Magnetic Effect Of Electric Current With Galvanometer | Electromagnetic induction, conversion of energy | 1 | No. | 6920 | 6920 | 1246 | 8166 | 4 | 32664
96 | Gyroscope | Rotation, Inertia, torque, precession, axis, angular momentum | 1 | No. | 6660 | 6660 | 1199 | 7859 | 4 | 31436
97 | Aerofoil Shape Of Wings Of Aeroplane | Bernoulli's principle. Pressure difference | 1 | No. | 7880 | 7880 | 1418 | 9298 | 4 | 37192
98 | Sand Pendulum | Lissajous figures, superposition of two waves | 1 | No. | 6580 | 6580 | 1184 | 7764 | 4 | 31056
99 | Bell Jar Experiment | Sound waves, medium propagation, longitudinal waves | 1 | No. | 8960 | 8960 | 1613 | 10573 | 4 | 42292
100 | Oersted Experiment | Current electricity and magnetism | 1 | No. | 5650 | 5650 | 1017 | 6667 | 4 | 26668
101 | Ampere Model | Change in direction of the magnetic field around a straight conductor carrying current. | 1 | No. | 6960 | 6960 | 1253 | 8213 | 4 | 32852
102 | Curie Point | Ferromagnetic material converted into a paramagnetic material due heating | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
103 | Doppler’s effect | Change Frequency of sound with respect to source and observer | 1 | No. | 5940 | 5940 | 1069 | 7009 | 4 | 28036
104 | Weight on different Planets | Mass, weight, acceleration due to gravity | 1 | No. | 5280 | 5280 | 950 | 6230 | 4 | 24920
105 | Coin movement in cone | Planetary motion, hyperbolic funnel | 1 | No. | 5360 | 5360 | 965 | 6325 | 4 | 25300
106 | Mid-point theorem | Triangles and areas | 1 | No. | 6850 | 6850 | 1233 | 8083 | 4 | 32332
107 | Tower of Brahma | Puzzle and algorithm | 1 | No. | 5940 | 5940 | 1069 | 7009 | 4 | 28036
108 | Sum Of First N Odd Numbers | Sum of odd numbers | 1 | No. | 5280 | 5280 | 950 | 6230 | 4 | 24920
109 | Sum Of First N Numbers In Arithmetic Progression | Sum of natural numbers | 1 | No. | 5360 | 5360 | 965 | 6325 | 4 | 25300
110 | Fibonacci series | Sum and sequences | 1 | No. | 6050 | 6050 | 1089 | 7139 | 4 | 28556
111 | TRAINING OF TEACHERS | Total - 2 visits | 2 | No. | 17500 | 35000 | 6300 | 41300 | 4 | 165200
112 | INFRASTRUCTURE | MDF Board (2 ft width) | 1 | No. | 91000 | 91000 | 16380 | 107380 | 4 | 429520
45 pcs Iron Brackets
5 pcs Electric Casing
Switch and Socket 20pcs each
10 pcs socket box
Wodden Bit 14 pcs of 7.5 ft
Steel wall nails (2kg)
Red & Black Wire 40 mtr Each
1 MCB
100 pcs Screw (1inch)
113 | WALL PAINTING | WALL PAINITING IN THE CLASSROOM | 1 | No. | 1,50,000 | 1,50,000 | 27000 | 177000 | 4 | 708000
114 | Base line & Endline Survey |  | 1 | No. | 35000 | 35000 | 6300 | 41300 | 4 | 165200
Total of Integrated Science, Maths Lab | [5 empty] | 1111000 | 199980 | 1310980 | 4 | 5243920

## BALA
S. No. | Interventions | Unit | Tanta | Total Size in sqft / Quantity | Unit Rate (Rs.) | Amount Exclusive of GST (Rs.) | GST | Amount Inclusive of GST (Rs.) | No. of Schools | Amount
|  |  | tive |  |  |  | (18%.) (Rs.)
Size
A | For Classroom
Measures Around Us
1 | Horizontal Scale | sqft | 6X1 | 6 | 224 | 1344 | 241.92 | 1586
2 | Vertical Scale | sqft | 6X1 | 6 | 224 | 1344 | 241.92 | 1586
3 | Concept of Big & Small | sqft | 4X5 | 20 | 224 | 4480 | 806.4 | 5286
(through Physical Interventions)
Angles Around Us
4 | Door Angle Protractor | sqft | 2X2 | 4 | 224 | 896 | 161.28 | 1057
5 | Highlighting Naturally Occurring | sqft | 2X2 | 4 | 224 | 896 | 161.28 | 1057
Angles in classroom
Symmetry Around Us
6 | Symmetry in the Built Elements | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
Colour Teasers
7 | Fan Colour Wheels | no | 4X4 | 16 | 41 | 656 | 118.08 | 774
8 | Rainbow on Floor/ Wall of the |  | 6X6 | 36 | 224 | 8064 | 1451.52 | 9516
| classroom or Corridor | sqft
Map Your World (painted
on Classroom door/ wall/
Table/ Floor)
9 | Map of the Classroom | sqft | 2X2 | 4 | 224 | 896 | 161.28 | 1057
10 | Map of the School | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
11 | Map of the Neighbourhood / | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
Village
12 | Map of the City / District | sqft | 5X5 | 25 | 224 | 5600 | 1008 | 6608
13 | Map of State | sqft | 5X5 | 25 | 224 | 5600 | 1008 | 6608
14 | Map of Country | sqft | 6X6 | 36 | 224 | 8064 | 1451.52 | 9516
15 | Map of the World | sqft | 10X10 | 100 | 224 | 22400 | 4032 | 26432
Time Devices
16 | Wall Clock | no | 2X2 | 4 | 224 | 896 | 161.28 | 1057
Number Lines
17 | Wall Number Line Tiles | sqft | 1X10 | 10 | 224 | 2240 | 403.2 | 2643
Place Value Chart
18 | Place Value Chart on Wall | sqft | 3X4 | 12 | 224 | 2688 | 483.84 | 3172
Activity Boards and Surfaces
on Walls
19 | Geometrical Pattern /Shapes | sqft | 1X1X10 | 10 | 224 | 2240 | 403.2 | 2643
20 | Shape Poem Board | sqft | 3X4 | 12 | 224 | 2688 | 483.84 | 3172
B | For Corridors
Measures Around Us
21 | Horizontal Scale | sqft | 6X1 | 6 | 224 | 1344 | 241.92 | 1586
22 | Vertical Scale | sqft | 6X1 | 6 | 224 | 1344 | 241.92 | 1586
Symmetry Around Us
23 | Symmetry in mirror images | LS | 1 no. with mirror size of 3X1 ft | 1 | 2870 | 2870 | 516.6 | 3387
24 | Symmetry in Geometrical shapes | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
Inverted Images
25 | Inverted Images on mirror | LS | 1 no. with mirror size of 3X1 ft | 1 | 2870 | 2870 | 516.6 | 3387
Cycles Around Us
26 | Phases of Moon | sqft | 5X5 | 25 | 224 | 5600 | 1008 | 6608
27 | Cycle of seed germination | sqft | 5X4 | 20 | 224 | 4480 | 806.4 | 5286
28 | Water Cycle | sqft | 5X4 | 20 | 224 | 4480 | 806.4 | 5286
29 | Food Chain | sqft | 5X4 | 20 | 224 | 4480 | 806.4 | 5286
Number Lines
30 | Conversion of money units | sqft | 4X3 | 12 | 224 | 2688 | 483.84 | 3172
31 | Understanding Symbols | sqft | 4X3 | 12 | 224 | 2688 | 483.84 | 3172
(+ - x =><)
Writing Aids
32 | Understanding of Consonant & | sqft | 5X4 | 20 | 224 | 4480 | 806.4 | 5286
Vowel - English Language
33 | General signage | sqft | 3X5 | 15 | 224 | 3360 | 604.8 | 3965
Visuals Around Us
34 | Expressions | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
35 | Some Intresting Figures on Door/ Almirah Shutter viz. | sqft | 4X4 | 16 | 224 | 3584 | 645.12 | 4229
Healthy habbits
C | Outdoor
36 | Planetary Orbits / Solar System | sqft | 6X4 | 24 | 224 | 5376 | 967.68 | 6344
37 | Stairs- Painting of Numbers | sqft | 2X1X10 | 20 | 224 | 4480 | 806.4 | 5286
38 | Concrete Ground - Snake | sqft | 14X14 | 196 | 224 | 43904 | 7902.72 | 51807
and Ladder for healthy habbit
as well as learning numbers
(Snake as unhealthy habbit
and ladder as healthy habbit)
39 | Tyre Playground alongwith | LS | 1 no. with two swings | 1 | 7380 | 7380 | 1328.4 | 8708
5 tyres to play with in sand
40 | Labelling the trees | LS | 20nos. | 1 | 410 | 410 | 73.8 | 484
41 | Stapu frame | sqft | 2X10 | 20 | 224 | 4480 | 806.4 | 5286
42 | Gintara on Window/ Abacus | LS | 3+3m | 1 | 5012 | 5012 | 902.16 | 5914
43 | Pipe Phone | LS | 20m | 1 | 713 | 713 | 128.34 | 841
44 | Mazes | sqft | 4X4X2 | 32 | 224 | 7168 | 1290.24 | 8458
45 | Play of Sunlight - light passing | LS | 20 | 1 | 4550 | 4550 | 819 | 5369
through grills forming shapes
on wall /floor,
46 | Tangram Tiles | LS | 20 | 1 | 4500 | 4500 | 810 | 5310
47 | Grid and Dot board on floor walls | sqft | 4X4X2 | 32 | 236 | 7552 | 1359.36 | 8911
48 | Country Name, Flags and | sqft | 4X6 | 24 | 216 | 5184 | 933.12 | 6117
Currency
49 | Practice Board for writing/ having dotted letters on the board | sqft | 4X3X4 | 48 | 224 | 10752 | 1935.36 | 12687
50 | Fraction Walls forunderstanding of fractions | sqft | 5X5 | 25 | 212 | 5300 | 954 | 6254
Total | [5 empty] | 249941 | 44989.38 | 294930 | 55 | 16221150
51 | Base line & End Line Survey | LS | LS | 1 | 30000 | 30000 | 5400 | 35400
(Optional item)